Waste management

Guidelines for hazardous waste

1. INTRODUCTION

Hazardous waste is any product, substance, or organism that is dangerous to the environment and/or to human health and that is no longer used for its original purpose at the time of disposal. Hazardous waste is dangerous because of its quantity, concentration, physical, chemicals, or infectious characteristics. Thus it may require special disposal techniques to eliminate or reduce the hazard. The disposal of hazardous waste is governed by strict local and national regulations (Avfallsforskriften– Waste Regulations under the Pollution law of 13.03.1981), as well as UNIS policies and procedures. The objective of these regulations, is to ensure that hazardous waste be handled in such a way that it does not create pollution or damage to people or animals, or the risk of this, and to contribute to an appropriate and safe system for the handling of hazardous waste .

2. RESPONSIBILITIES

2.1 Lab leader and HSE Director

The lab leader has overall responsibility for hazardous waste at UNIS. The HSE Director has a responsibility in ensuring that the internal regulations for dangerous waste are in accordance with the external regulations.

If there has been a breach in the regulations regarding production and handling of hazardous waste, and this is repeated after a warning, the lab leader will then stop the work involving the production of such waste.

2.2 Staff Engineer

Staff engineers are responsible for the daily management of hazardous waste within their respective departments.

In collaboration with the lab leader, they are responsible for: 
• ensuring all new methods which produce hazardous waste are evaluated before waste is produced
• considering replacing highly toxic / poisonous / ionizing substances with less hazardous chemicals 
• that as few as possible are exposed to hazardous waste
• ensuring the employee who produces hazardous waste has read and understood these guidelines

• ensure that the hazardous waste is transported to the central waste depot in a safe manner and in accordance with applicable internal guidelines and working practices
• that it is being considered whether workers should have health check  
• that there are procedures for how hazardous waste must be handled in the department
• personal protective equipment being available
• that accidents and incidents are reported immediately 

2.3 Individual users and UNIS Supervisor

The individual user (employee, student or guest researcher) shall handle hazardous waste in accordance with the stated guidelines. Whoever carries out the work is responsible for:
• following the procedures outlined in this document
• using available protective equipment
• reporting any accident, spill, or concerns about safety in the labs
The producer of waste must have an overview of the waste and ensure that it is packed, marked and disposed of in accordance with the current regulations. The UNIS supervisor of the individual user has the responsibility to make certain the user is following these guidelines.

3. TREATMENT OF HAZARDOUS WASTE

3.1 General information on hazardous waste

All waste management begins with purchasing. When purchasing items that contain hazardous compounds, be sure that UNIS has a way to properly dispose of any debris and / or products after use. This is restated as the substitution requirement of hazardous chemicals outlined in the Working Environment Act § 4-5, which means that one should always consider replacing highly toxic and toxic chemicals with less hazardous chemicals wherever possible. This also applies to ionizing substances and biological factors.

Whoever produces hazardous waste should always ensure: 
• the waste is properly labeled (see guidelines below) and securely stored while in the laboratory
• the laboratory has the necessary hazard labels
• that waste is in the appropriate container (see guidelines below) when being transported

The lab leader has the responsibility of emptying the central waste depot once every two weeks.

The waste is packaged appropriately and delivered to the waste depot in Longyearbyen accompanied by declaration forms. A completed declaration form from The Environment Agency (Miljødirektoratet) must accompany each type of waste; EWC codes (European Waste list) and a Norwegian waste substance number are used for identification, these are found using the Norwegian Competence Centre for Waste and Recycling (NORSAS). The purpose of the form is to provide information needed for safe handling and transport of the waste as well as to select proper treatment, it is therefore very important that all waste is described well by the producer to ensure that this safe handling information can be passed on to those who will be transporting it later.

3.2 Classification of hazardous waste

All chemicals classified as hazardous, and all wastes included in the classification below are defined as hazardous waste by UNIS. All hazardous waste must be stored and handled properly and according to the Norwegian and Svalbard regulations. The various categories of hazardous waste shall not be mixed together unless as part of the work protocol; it must therefore follow the guidelines of both categories.

Hazardous waste categories:

1. Electronic waste

2. Chemical waste

3. Radioactive waste

4. Biohazardous waste

5. Sharp objects waste

3.3 Packaging, labelling and storing of hazardous waste

Category 1:  Electronic waste (WEEE) 

All waste that contains any kind of electronic or battery component (including: light bulbs, appliances such as kettles, TV, radios, cameras, computer equipment, telephones, scientific instruments etc.), must be disposed of in a proper manner to not be harmful to the environment.
 
Submission: Employees at the Technical Department gather all electronic and battery waste from the shelves in room C131, the delivery room in the old building on the first floor.

Category 2: Chemical Waste
 
Waste / residues of chemical substances that can lead to contamination or risk of injury to people and animals. This applies to all chemical waste from laboratory. All waste placed in the central waste depot must have a correctly filled out waste identification label (see end of this section) on it before being placed in the fume hood.

If waste is a mixture of several substances it must be labelled for all substances on the waste identification label.

The following categories of waste chemicals are based on chemical reactivity, and Norwegian disposal requirements. The waste must be sorted by the following groups and should be labeled as such. Note that in the Persistent and Acute Toxic Substances, and Contaminated Solids sections further separation is required as outlined in those sections.

A. Halogenated

- All halogenated liquids and substances in solution (any organic chemical that contains: F, Cl, Br, or I).

B. Non-Halogenated

- All non- halogenated organic liquids and organic substances in solution with <20% water (any organic chemical that does not contain F, Cl, Br, or I), (e.g. alcohols with <20% water, acetone, ether, hexanes, benzene, toluene, acetonitrile, ethyl acetate, heptane, fluorescein, isopropyl acetate, isopropyl alcohol, methanol).

C. Formaldehyde

- All formalin and formaldehyde containing solutions

D. Inorganic Acids

- All inorganic acids, (e.g. sulphuric, hydrochloric) and inorganic/acid mixtures, (e.g. inorganic compounds dissolved in acid).

E. Organic acids

- Organic acids, (e.g. formic acid, acetic acid) should be segregated from inorganic acids. Generally inorganic acids are oxidizing agents while some organic acids may be either reducing agents or combustible.

F. Contaminated solids

- Contaminated absorbents, molecular sieves, and desiccants, (e.g. silica gel, ammonium acetate, potassium hydroxide, sodium chloride, aluminium oxide, sodium hydroxide, and florisil), which have been used with organic solvents. They can be left to evaporate until dry, before delivering as contaminated solid waste. Identify all hazardous components on the waste identification label. Note this does not include infectious or highly toxic chemicals.

- Contaminated disposable equipment from the laboratories (e.g. plastic pipettes, pipette tips, gloves, filter paper and other paper with chemical residue, weigh beaker containing chemical remains, used acrylamide gels, ethidium bromide gel, that have been contaminated with chemicals that are non-toxic (e.g. potassium chloride, agarose,

G. Persistent and Acute Toxic Substances

- Any compounds used to destroy or inhibit plant or animal pests, (e.g. pesticides, fungicides, insecticides), PCBs, and PAHs in solution. Make sure to also label for any other chemicals in the waste.

- All compounds which are hazardous in themselves are kept separate, (e.g. carbon black, Envi-Carb). Make sure to also label for any other chemicals in the waste.

- Contaminated disposable equipment from the laboratories (e.g. Pasteur pipettes, plastic pipettes, pipette tips, gloves, vials, caps, filter paper and other paper that has been contaminated with toxic chemicals (formalin, gluteraldehyde, lugol, pesticides, PAHs, PCBs) Note separate chemicals

H. Oil products

- All types of oil, (e.g. waste oil, oil emulsions and crude oil), petroleum products, silicone oil and mineral oil, (e.g. oil for vacuum pumps) are sorted separately. Check the MSDS in order to fill out the waste identification label correctly.

- If the oil is contaminated with any other compounds make sure to label their hazards and list the contaminants on the waste identification label.

I. Heavy metals

- Waste containing heavy metals, (e.g. V, Cr, Co, Ni, Cu, Zn, As, Se, Pb, Cd, Sn, Hg).

Packaging:

- For liquids UN approved white plastic carboy containers with red or black cap found in laboratory storage room C220.

- Solid waste should be placed in UN approved white pails found in laboratory storage room.

Labelling:  Labels are found in Central waste depot C218, must be filled out with:

- Specific names of the chemical compounds in the container

- All appropriate hazardous pictogram(s) ticked off on the label

- Waste generators’ name and department

- No abbreviations, structures, formulae, or trademark names

- No vague categories are acceptable, e.g. solvent waste / hazardous waste

- If waste is not identified it cannot be removed.

Be sure to list the components as you make additions to the container.

Submission:

Solids - white pails to be left in the central waste depot fume hood in Chemical storage Room C218.

Liquids- Non – halogenated liquid waste, and Formalin liquid waste can be poured into their respective 25L containers in the central waste depot fume hood.  All other full liquid waste carboy containers are placed on the shelves in the central waste depot fume hood.

Transport: When transporting chemical waste in a corridor it must be sealed and carried responsibly with both hands on the container. For transporting larger amounts trolleys (found at reception) should be used.

Category 3: Radioactive waste

C-14 is a long half-life radioisotope and is currently the only radioisotope in use on-site at UNIS. These guidelines refer to C-14 radioactive waste handling only. If work is to begin with radioisotopes other than C-14, waste handling guidelines need to be established prior to the work commencing.

It is important to limit the amount of radioactive waste being produced; if an item is known to be uncontaminated with radioactive residues, do not place it in the radioactive waste. Make sure radioactive waste does not come into contact with the outside of the waste container; if this does happen then the waste container itself is designated as waste and needs to be placed in another container.

C-14 waste must be transported to the University in Tromsø, UiT, for disposal. At present, waste is transported to Tromsø via the Helmer Hanssen ship in the radioactive lab aboard. The waste will be handled by UiT according to their safety routines for handling radioactive material. A receiver for the waste at UiT, who is trained in radiation safety, must be arranged before waste is put on the boat.

It is the user’s responsibility to contact the lab leader when the lab work is finished in order to arrange for disposal. The lab leader must contact Helmer Hanssen to organize transport to UiT. The lab leader then has the responsibility to confirm that the waste was received at UiT.

Packaging:

- Solid waste in UN approved white pails found in laboratory storage room C220.

- Liquid waste in UN approved white carboy containers found in laboratory storage room C220.

- Sharps, such as broken ampules, in yellow sharps bin found in laboratory storage room C220.

- Once work has finished, all waste containers must be placed together inside a sealed UN approved box

Labelling:

Individual pails, carboys, and sharps bins must have a radioactive warning sticker placed on them. These stickers are found in the central waste depot.

The sealed box must be labelled with a radioactive warning as well as a Radioactive Waste Identification label, also found in the central waste depot.

The label needs to include the following information:

- Specific name of radioisotope(s)

- Volume liquid waste – specify liquid (e.g. water or chemical name)

- Whether there is a sharps container in the box

- Type of solid waste (e.g. pipette tips, gloves, paper )

- Waste generators name and contact details

- Date

- Receiver at UiT and their contact details

- Names of any hazardous chemicals contained inside (e.g. formalin)

Submission:

- Contact lab leader to arrange transport to Tromsø

- Waste should be stored in the bottom shelf of the cupboard on the right hand side in the Formalin lab A136A until transfer to the radioactive lab aboard the Helmer Hanssen.

Category 4: Biohazardous waste

Biohazardous waste is biological waste that is infectious, potentially infectious, or recombinant (genetically modified). This includes waste items that are, contain, or are contaminated with:

- Human, plant or animal pathogens

- Genetically modified organisms (GMOs)

- E.Coli bacteria used in culturing/plating

Items contaminated with biohazardous waste include anything which has come into contact with the infectious material and includes, but is not limited to: petri dishes, pipette tips, gloves, culture tubes, and Eppendorf tubes. These are treated as biohazardous waste.

The waste must be treated to kill any living organisms before disposal. This is achieved by autoclaving, or by chemical disinfection.

Solid waste should be put into autoclave bags and autoclaved at 121˚C for at least 20 minutes. Do not fill bags more than ¾ full and do not seal tightly. The bag must have a piece of autoclave tape placed loosely around the neck so that autoclaving can be visually confirmed afterward (the stripes on autoclave tape will turn black after autoclaving). The autoclave bag can now be disposed of in the regular trash.

Liquid waste can be autoclaved if in an autoclavable vessel (usually borosilicate glass), and subsequently disposed of down the drain. It can also be chemically disinfected with 1:9 (bleach: liquid waste) solution, then left overnight in the sink – clearly marked as biohazardous waste – the solution can then be disposed of down the drain the following day. Do not autoclave bleach-treated waste. After the biohazard treatment, waste containing hazardous chemical components needs to then be disposed of according to the chemical waste guidelines (see Category 2).

Sharps waste should not be disinfected. Place all sharps waste into a sharps container that is specifically designated for biohazardous waste, i.e. has a biohazard sticker on the top. Do not use regular sharps containers for sharps contaminated with biohazardous waste.

Packaging:

- Solid waste in autoclave bags

- Liquid waste is to be disposed of in leak proof sealed containers

- Sharps in designated biohazardous sharps container

Labelling:

- Autoclave bags should have autoclave tape placed on them for proof of autoclaving

- Biohazard sticker (found in C218) to be placed on sharps container

Submission:

- Solid waste can be placed in regular lab trash after autoclaving

- Liquid waste can be placed down the sink after chemical disinfection

- Full biohazard sharps containers can be placed in the central waste depot C218

Category 5: Pointed, sharp objects and glass
 
Includes glassware, bottles, and other sharps like syringes, needles, and scalpels. The glassware and bottles must be evaporated and/or clean, and dry. Lids and corks should be taken off and disposed of in regular trash bins. There must not contain traces of chemicals, blood or other contagious or health hazardous substances in the clean glass box as this box is left out in the open air in the laboratory where remaining vapours can cause lab workers to be exposed.

Packaging:

- Needles and scalpel blades: In hard case yellow plastic boxes and then handling as hazardous waste.

- Clean glass waste without chemical residues: in Glass waste blue and white paper boxes located in each lab. Nothing but clean glass goes in this box.

- Glass waste with chemical residues: User considering whether it can be cleaned (evaporation, sonication) or must go as contaminated waste (refer to specific categories described above). Empty chemical glass bottles that can be evaporated are left in a fume hood overnight – clearly labeled as evaporating – then are recycled as regular clean glass.

Labelling:

- No additional labelling is required on the packaging

Submission:

- Full sharps boxes are placed in the central waste depot C218.

- Nearly full clean glass boxes are dumped in the glass recycling container outside of logistics; remember to use PPE (glasses, and work gloves) when handling these boxes.

- Clean, evaporated glass bottles are taken out to the glass recycling container outside of logistics.

4. SINK AND ALL OTHER TRASH AND RECYCLING DISPOSAL

Our practice for disposal of waste down the drain is according to the guidelines under the Regulations relating to the recycling of waste made by The Environment Agency (Miljødirektoratet), Note that solutions cannot be watered down to achieve these concentrations.

Material including, but not limited to, non-hazardous animal carcasses, parts of animals, animal, plant and bacterial cells (e.g. any non-pathogenic organisms, or parts of those organisms) collected on fieldwork in and around Svalbard, as well as used lab ware including pipette tips, Eppendorf tubes, and petri dishes do not require treatment before disposal in regular trash bins.

All paper, corrugated cardboard, and aluminium (cans and foil) is recycled. All other trash is placed in the bins in each room and is removed by the cleaning personnel. No hazardous waste is to be disposed of in the regular trash receptacles.

Labelling: No labelling required.

Packaging: No packaging required

Submission:

- Paper is placed in the receptacles located in various places around the university and can be emptied in the bins in Room C138 next to Logistics

- Corrugated cardboard needs to be broken down and brought to the recycling containers outside of logistics by the user.

- Aluminium cans are placed in the receptacles located in various places around the university; they are emptied by janitorial personnel. Aluminium foil is collected in a box in the lab and needs to be emptied by lab personnel when full.

- All other trash bins are collected by the janitorial personnel.