| Depth (m) | sample type | sampling gear | size fraction | parameter |
| --- | --- | --- | --- | --- |
| continuous electronic measurements |  |  |  |  |
| bottom-0 | data | CTD |  | temperature |
| bottom-0 | data | CTD |  | conductivity |
| bottom-0 | data | CTD |  | pressure |
| bottom-0 | data | CTD |  | fluorescence |
| 45-0 | data | Li-Cor |  | PAR |
| discrete samples |  |  |  |  |
| 15+75 | water | Niskin | 0.45-10um | DNA |
| 15+75 | water | Niskin | >10um | DNA |
| 15+75 | water | Niskin | 0.45-10um | RNA |
| 15+75 | water | Niskin | all | protist community |
| 15+75 | water | Niskin | all | microbial abundances |
| bottom-0 | zooplankton | WP2 net | >63um | zooplankton community |
| bottom-0 | zooplankton | WP2 net | >63um | zooplankton community |
| 15+75 | water | Niskin | all | fluorometric Chl a |
| 15+75 | water | Niskin | >10um | fluorometric Chl a |
| 15+75 | water | Niskin | all | POC |
| 15+75 | water | Niskin | all | PON |
| 15+75 | water | Niskin | all | nitrate |
| 15+75 | water | Niskin | all | nitrite |
| 15+75 | water | Niskin | all | phosphate |
| 15+75 | water | Niskin | all | silicate |

IsA sampling:

IsA has been sampled on a regular basis since December 2011. Currently sampling takes place every month, but sampling intervals have varied (from weekly to bimonthly). The station is normally easily reached from Longyearbyen, but access can occationally be limited by sea ice. During summer an UNIS polarcircle boat is used, while winter sampling is done from MS Polarsyssel. Sample processing either takes place on board, or in the UNIS laboratories immediately after returning from field. Core parameters that are collected on every sampling event are listed in Table 1.

Table 1: Core parameters sampled regularly at the IsA time series station. Additional parameters and depths have been sampled during limited periods, when specific projects have been linked to the time series.